Air Quality and Emissions

(AE02)

| Fact Sheet AE02: Keep the ventilation systems of odor generating areas separate from the hotel' main ventilation system |  |
| --- | --- |
| Overview |  |
| Objective | To separate ventilation systems in the closed areas |
| Action | Install separate ventilation system for odor generating areas |
| Key Challenges | High CAPEX |
| Process |  |
| Complexity | Moderate – install separate ventilation systems |
| Equipment & Material | Heating/ cooling equipment, fans, filters and ducts |
| Human Resources | HVAC Technicians in house team or HVAC maintenance companies |
| Considerations |  |
| Regulatory Aspects | None |
| Economic | Moderate CAPEX, Moderate OPEX, Low savings |
| Advantages | Avoid any undesired odors in the closed areas |
| Disadvantages | Installation of new ventilation system |
| Impacts |  |
| Environmental | None |
| Employment Opportunities | Moderate – technical labors |