Air Quality and Emissions

(AE03)

| Fact Sheet AE03: Monitor air quality regularly |  |
| --- | --- |
| Overview |  |
| Objective | Continuously monitoring the air quality |
| Action | Air analysing to check amount of CO & CO2 in closed areas |
| Key Challenges | Continuous monitoring requires time and effort and to corrective reactions to be followed after |
| Process |  |
| Complexity | Low |
| Equipment & Material | Air Analyzer device |
| Human Resources | HVAC technicians |
| Considerations |  |
| Regulatory Aspects | None |
| Economic | Low CAPEX, Low OPEX, Low savings |
| Advantages | Monitoring air quality will lead to corrective actions regarding ventilation system |
| Disadvantages | Corrective actions could be limiting the number of people in closed areas |
| Impacts |  |
| Environmental | None |
| Employment Opportunities | Moderate – technical labors |