Air Quality and Emissions

(AE04)

| Fact Sheet AE04: Install air purifiers to remove odors and particulate matter from air |  |
| --- | --- |
| Overview |  |
| Objective | To improve the air quality in closed areas |
| Action | Install air purifiers in closed areas |
| Key Challenges | Air purifier is working in limited area |
| Process |  |
| Complexity | Moderate – air purifying technology |
| Equipment & Material | Air purifiers & filters |
| Human Resources | HVAC technicians |
| Considerations |  |
| Regulatory Aspects | None |
| Economic | Moderate CAPEX, Low OPEX, Low savings |
| Advantages | Improve air quality in closed areas |
| Disadvantages | Air purifiers usually needs regular periodic maintenance to change the contaminated filters |
| Impacts |  |
| Environmental | None |
| Employment Opportunities | Moderate – technical labors |