Electrical Energy

(EE03)

| Fact Sheet EE03: Replace At least 75% of the indoor standard sized light bulbs with energy-saving light bulbs (CFL, LED) |  |
| --- | --- |
| Overview |  |
| Objective | Reduce electrical energy consumption in indoor lighting |
| Action | Replace at least 75% of indoor standard sized bulbs with more energy efficient technologies (LED, CFL) |
| Key Challenges | Finding luminaires or bulbs of similar characteristics to existing ones |
| Process |  |
| Complexity | Low complexity, off-the-shelf drop in replacements are available |
| Equipment & Material | New light bulbs or luminaries |
| Human Resources | Maintenance and engineering department personnel |
| Considerations |  |
| Regulatory Aspects | None |
| Economic | High CAPEX, no special OPEX, high expected savings |
| Advantages | - Lower energy consumption - Longer lamp lifetime |
| Disadvantages | High initial investment required |
| Impacts |  |
| Environmental | Pollution reduction by avoiding CO2 emissions |
| Employment Opportunities | None |