Electrical Energy

(EE06)

| Fact Sheet EE06: Purchase high efficiency HVAC equipment |  |
| --- | --- |
| Overview |  |
| Objective | Decrease the electrical energy consumption in the hotel’ HVAC system |
| Action | Upgrade the HVAC equipment with new high efficiency equipment |
| Key Challenges | - Ensuring computability with existing systems - Minimizing the system down time during installation and commissioning - Exact intervention depends on the type of the existing system |
| Process |  |
| Complexity | Low |
| Equipment & Material | New high efficiency equipment |
| Human Resources | Technical labor and engineering department personnel |
| Considerations |  |
| Regulatory Aspects | None |
| Economic | High CAPEX, low OPEX, High expected energy saving |
| Advantages | Most technologies are off-the-shelf |
| Disadvantages | - A detailed study may be required to justify major technical interventions - Can be disruptive to hotel’ activities |
| Impacts |  |
| Environmental | Pollution reduction by avoiding CO2 emissions |
| Employment Opportunities | None |