Thermal Energy

(TE10)

| Fact Sheet TE10: Avoid keeping equipment such as televisions, hair dryers, and lamps close to air conditioning thermostats |  |
| --- | --- |
| Overview |  |
| Objective | Reduce the energy consumed in the air conditioning system |
| Action | Keep appliances that emit heat away from the AC thermostat to avoid unnecessary additional cooling loads. |
| Key Challenges | - Increase awareness of committing to such simple actions that can significantly reduce AC consumptions. - Redecoration may be needed for meeting this measure. |
| Process |  |
| Complexity | Low |
| Equipment & Material | No equipment needed |
| Human Resources | Trained labor |
| Considerations |  |
| Regulatory Aspects | None. |
| Economic | Low CAPEX, Low OPEX, Moderate savings |
| Advantages | - Reduction in gas/electrical bill. - Reduction in CO2 emissions |
| Disadvantages | - The interior design may be affected to keep appliances away from the thermostat. - Cannot control visitor’s behavior. |
| Impacts |  |
| Environmental | Environmentally friendly approach, pollution reduction as a result to CO2 reduction |
| Employment Opportunities | Low – No need for additional labor just more training for existing employees. |