Waste and Waste Water

(WT02)

| Fact Sheet WT02: Ensure that the quality of swimming pool water is checked, controlled, documented by an external organization (pH-value, chlorine%) according to nationally approved standards |  |
| --- | --- |
| Overview |  |
| Objective | Water quality regular check for swimming pools |
| Action | Continuous monitoring for the swimming pools water quality |
| Key Challenges | Timing for swimming pool chlorination |
| Process |  |
| Complexity | Low – Swimming pool measure kit |
| Equipment & Material | Tool kit, Disinfection chemicals & dosing pumps |
| Human Resources | Technicians |
| Considerations |  |
| Regulatory aspects | None |
| Economic | Low CAPEX, Low OPEX, High savings, Moderate payback. |
| Advantages | Sustain the swimming pool water free from any algae, bacteria, microbes and chloramines. |
| Disadvantages | Increase rate of disinfection chemicals consumption |
| Impact |  |
| Environmental | Decrease fresh water consumption in swimming pools |
| Employment Opportunities | Moderate – technical labors |