Waste and Waste Water

(WT07)

| Fact Sheet W07 : Use recycled water for irrigation |  |
| --- | --- |
| Overview |  |
| Objective | Use recycled water for irrigation of 100% of gardens, sports facilities and outdoors using the drip irrigation method. |
| Action | Wastewater treatment |
| Key Challenges | Maintain the standard quality of treated water |
| Process |  |
| Complexity | Moderate – Water Treatment |
| Equipment & Material | Grey water storage tanks, Irrigation system, pumps and filters |
| Human Resources | Engineers, chemists & technicians |
| Considerations |  |
| Regulatory Aspects | Yes - According to the laws of grey water specs |
| Economic | Moderate CAPEX, Moderate OPEX and Moderate savings in monthly water bills |
| Advantages | Using recycled water will decrease the water bills |
| Disadvantages | High CAPEX |
| Impacts |  |
| Environmental | Decrease fresh water consumption |
| Employment Opportunities | Moderate – technical labors |