Waste and Waste Water

(WT08)

| Sample Fact Sheet WT08: Reuse water in laundry |  |
| --- | --- |
| Overview |  |
| Objective | Reuse waste water in laundry |
| Action | Install holding tanks to store the final rinse water from clothes washers, to be reused as the wash water in the next wash. Consider installing such a tank to minimize water consumption |
| Key Challenges | Recycled water quality odor and color |
| Process |  |
| Complexity | Low – simple treatment for rinse water before reuse |
| Equipment & Material | Holding tanks, chemicals |
| Human Resources | Technicians |
| Considerations |  |
| Regulatory Aspects | None |
| Economic | Low CAPEX– cost of tanks & chemicals, Low OPEX– handling rinse wastewater and re-pumping, Moderate savings – decrease using of fresh water in laundry |
| Advantages | Using recycled water will decrease monthly water bills |
| Disadvantages | Regular check of the recycled water quality |
| Impact |  |
| Environmental | Decrease fresh water consumption in swimming pools |
| Employment Opportunities | Moderate – technical labors |